## FIG.1
Reverse dark current density(J) | 200 μm-radius | Bias(V) | J(A/cm^2) | 100 μm-radius | Bias(V) | J(A/cm^2) | 50 μm-radius | Bias(V) | J(A/cm^2) | Forward dark current density | Bias(V) | J(A/cm^2) | Reverse photocurrent density(J) | Bias(V) | J(A/cm^2) | Avalanche gain (M) | Bias(V) | Mean gain | Stdev
of |  | 0 | 1.8466e-08 |  | 0 | 1.8466e-08 |  | 0 | 1.8466e-08 | of | 0 | 1.8466e-08 | of | 0 | 1.8466e-08 | of | 4 | -- | --
different sizes |  | 1 | 3.788e-08 |  | 1 | 7.2895e-08 |  | 1 | 1.6693e-07 | 100 μm-radius-device | -0.1 | 7.3532e-08 | 100 μm-radius-device | 1 | 1.7389e-07 | 100 μm-radius-device | 6 | -- | --
|  | 2 | 1.2017e-07 |  | 2 | 1.3178e-07 |  | 2 | 5.1058e-07 |  | -0.2 | 6.3027e-08 |  | 2 | 4.3885e-07 |  | 8 | -- | --
Heading(units): |  | 3 | 2.7853e-07 |  | 3 | 3.4219e-07 |  | 3 | 1.053e-06 | Heading(units): | -0.3 | 2.4033e-07 | Heading(units): | 3 | 8.4268e-07 | Heading(units): | 10 | -- | --
Bias(V) |  | 4 | 5.1329e-07 |  | 4 | 7.2895e-07 |  | 4 | 1.859e-06 | Bias(V) | -0.4 | 5.4624e-07 | Bias(V) | 4 | 1.4713e-06 | Bias(V) | 12 | -- | --
J(A/cm^2) |  | 5 | 8.2365e-07 |  | 5 | 1.2351e-06 |  | 5 | 2.6866e-06 | J(A/cm^2) | -0.5 | 2.954e-06 | J(A/cm^2) | 5 | 2.2866e-06 | M | 13 | -- | --
|  | 6 | 1.2494e-06 |  | 6 | 1.8781e-06 |  | 6 | 3.9854e-06 |  | -0.6 | 1.4866e-05 |  | 6 | 3.2293e-06 |  | 14 | 1.3 | 0
|  | 7 | 1.8065e-06 |  | 7 | 2.7248e-06 |  | 7 | 5.6406e-06 |  | -0.7 | 7.2895e-05 |  | 7 | 4.465e-06 |  | 14.2 | 1.3001 | 0
|  | 8 | 2.5704e-06 |  | 8 | 3.8039e-06 |  | 8 | 7.767e-06 |  | -0.8 | 0.00023014 |  | 8 | 6.051e-06 |  | 14.4 | 1.3431 | 0.041825
|  | 9 | 3.5174e-06 |  | 9 | 5.1313e-06 |  | 9 | 1.0428e-05 |  | -0.9 | 0.00054019 |  | 9 | 8.0382e-06 |  | 14.6 | 1.345 | 0.042446
|  | 10 | 4.6315e-06 |  | 10 | 6.6529e-06 |  | 10 | 1.3611e-05 |  | -1 | 0.0011555 |  | 10 | 1.0497e-05 |  | 14.8 | 1.3467 | 0.042767
|  | 11 | 5.8412e-06 |  | 11 | 8.4355e-06 |  | 11 | 1.7202e-05 |  | -1.1 | 0.0023747 |  | 11 | 1.3312e-05 |  | 15 | 1.3516 | 0.04569
|  | 12 | 9.3108e-06 |  | 12 | 1.2414e-05 |  | 12 | 2.3199e-05 |  | -1.2 | 0.0047907 |  | 12 | 2.0828e-05 |  | 16 | 1.3857 | 0.052885
|  | 13 | 1.7508e-05 |  | 13 | 2.2219e-05 |  | 13 | 3.5397e-05 |  | -1.3 | 0.0094859 |  | 13 | 8.4926e-05 |  | 18 | 1.4712 | 0.058487
|  | 14 | 2.2521e-05 |  | 14 | 2.8267e-05 |  | 14 | 4.6347e-05 |  | -1.4 | 0.018208 |  | 14 | 0.013349 |  | 20 | 1.5803 | 0.065753
|  | 15 | 2.6818e-05 |  | 15 | 3.4219e-05 |  | 15 | 5.717e-05 |  | -1.5 | 0.034156 |  | 14.2 | 0.019906 |  | 22 | 1.7269 | 0.085067
|  | 16 | 3.1593e-05 |  | 16 | 4.1413e-05 |  | 16 | 7.0158e-05 |  | -1.6 | 0.062136 |  | 14.4 | 0.021207 |  | 24 | 1.8914 | 0.10231
|  | 17 | 3.7005e-05 |  | 17 | 5.0135e-05 |  | 17 | 8.6074e-05 |  | -1.7 | 0.11014 |  | 14.6 | 0.021246 |  | 26 | 2.0624 | 0.11791
|  | 18 | 4.3212e-05 |  | 18 | 6.0512e-05 |  | 18 | 0.00010505 |  | -1.8 | 0.18208 |  | 14.8 | 0.021275 |  | 28 | 2.2652 | 0.11635
|  | 19 | 5.0533e-05 |  | 19 | 7.2895e-05 |  | 19 | 0.0001272 |  | -1.9 | 0.28521 |  | 15 | 0.021395 |  | 30 | 2.4748 | 0.12997
|  | 20 | 5.8809e-05 |  | 20 | 8.7219e-05 |  | 20 | 0.00015228 |  | -2 | 0.42464 |  | 16 | 0.022028 |  | 32 | 2.7153 | 0.14458
|  | 21 | 6.8279e-05 |  | 21 | 0.0001025 |  | 21 | 0.00018055 |  |  |  |  | 18 | 0.023423 |  | 34 | 2.9906 | 0.15898
|  | 22 | 7.9023e-05 |  | 22 | 0.00011969 |  | 22 | 0.00021162 |  |  |  |  | 20 | 0.025205 |  | 36 | 3.337 | 0.1775
|  | 23 | 9.1198e-05 |  | 23 | 0.00013911 |  | 23 | 0.00024689 |  |  |  |  | 22 | 0.027746 |  | 38 | 3.7706 | 0.1995
|  | 24 | 0.00010528 |  | 24 | 0.00016075 |  | 24 | 0.00030431 |  |  |  |  | 24 | 0.030528 |  | 40 | 4.3572 | 0.23752
|  | 25 | 0.00012144 |  | 25 | 0.0001859 |  | 25 | 0.00034251 |  |  |  |  | 26 | 0.033385 |  | 42 | 5.2112 | 0.29722
|  | 26 | 0.0001407 |  | 26 | 0.00021455 |  | 26 | 0.00039344 |  |  |  |  | 28 | 0.036467 |  | 44 | 6.6144 | 0.3887
|  | 27 | 0.00016632 |  | 27 | 0.00024733 |  | 27 | 0.00045201 |  |  |  |  | 30 | 0.039885 |  | 45 | 7.7377 | 0.45693
|  | 28 | 0.0001886 |  | 28 | 0.0002849 |  | 28 | 0.00051822 |  |  |  |  | 32 | 0.043791 |  | 46 | 9.2796 | 0.4463
|  | 29 | 0.00021805 |  | 29 | 0.00032946 |  | 29 | 0.00059589 |  |  |  |  | 34 | 0.048226 |  | 47 | 11.6531 | 0.21457
|  | 30 | 0.00025386 |  | 30 | 0.00038071 |  | 30 | 0.00068375 |  |  |  |  | 36 | 0.053815 |  | 47.5 | 13.8672 | 0.37103
|  | 31 | 0.00029524 |  | 31 | 0.00044055 |  | 31 | 0.00078434 |  |  |  |  | 38 | 0.060791 |  | 48 | 16.9068 | 0.826
|  | 32 | 0.00034458 |  | 32 | 0.00051122 |  | 32 | 0.0009053 |  |  |  |  | 40 | 0.070355 |  | 48.2 | 18.9589 | 0.90043
|  | 33 | 0.00040347 |  | 33 | 0.00059398 |  | 33 | 0.0010415 |  |  |  |  | 42 | 0.084345 |  | 48.4 | 21.8936 | 0.78745
|  | 34 | 0.0004743 |  | 34 | 0.00071622 |  | 34 | 0.0011994 |  |  |  |  | 44 | 0.10723 |  | 48.6 | 26.0217 | 0.59347
|  | 35 | 0.00055945 |  | 35 | 0.0008149 |  | 35 | 0.0013904 |  |  |  |  | 45 | 0.12548 |  | 48.8 | 32.3871 | 0.020218
|  | 36 | 0.0006629 |  | 36 | 0.00095177 |  | 36 | 0.0016056 |  |  |  |  | 46 | 0.14892 |  | 48.9 | 38.606 | 0.80704
|  | 37 | 0.00079421 |  | 37 | 0.0011237 |  | 37 | 0.0018692 |  |  |  |  | 47 | 0.18172 |  | 49 | 44.825 | 1.6343
|  | 38 | 0.00095177 |  | 38 | 0.0013338 |  | 38 | 0.0021811 |  |  |  |  | 47.5 | 0.21802 |  | 49.1 | 56.0198 | 0.62226
|  | 39 | 0.0011539 |  | 39 | 0.0015948 |  | 39 | 0.0026484 |  |  |  |  | 48 | 0.27153 |  | 49.2 | 67.2147 | 0.38978
|  | 40 | 0.0014102 |  | 40 | 0.0019226 |  | 40 | 0.0030559 |  |  |  |  | 48.2 | 0.30409 |  | 49.3 | 78.2439 | 0.04665
|  | 41 | 0.0018144 |  | 41 | 0.0023428 |  | 41 | 0.0036416 |  |  |  |  | 48.4 | 0.3473 |  | 49.4 | 89.2732 | 0.29648
|  | 42 | 0.0022044 |  | 42 | 0.0028999 |  | 42 | 0.0044055 |  |  |  |  | 48.6 | 0.40754 |  | 49.45 | 101.1618 | 1.5624
|  | 43 | 0.0028092 |  | 43 | 0.003632 |  | 43 | 0.0054114 |  |  |  |  | 48.8 | 0.49623 |  | 49.5 | 113.0505 | 3.4212
|  | 44 | 0.0036845 |  | 44 | 0.0046666 |  | 44 | 0.0067866 |  |  |  |  | 49 | 0.66134 |  | 49.55 | 121.724 | 0.26528
|  | 45 | 0.0049817 |  | 45 | 0.0061849 |  | 45 | 0.0087983 |  |  |  |  | 49.2 | 1.0352 |  | 49.6 | 130.3976 | 3.9518
|  | 46 | 0.0071224 |  | 46 | 0.0087856 |  | 46 | 0.011892 |  |  |  |  | 49.4 | 1.7207 |  |  |  | --
|  | 47 | 0.012892 |  | 47 | 0.012892 |  | 47 | 0.017367 |  |  |  |  | 49.5 | 1.7834 |  |  |  | --
|  | 48 | 0.023556 |  | 48 | 0.030304 |  | 48 | 0.030304 |  |  |  |  | 49.6 | 1.9362 |  |  |  | --
|  | 49 | 0.18972 |  | 49 | 0.28012 |  | 49 | 0.28012 | [9 empty] | --
|  | 50 | 12.665 |  | 50 | 12.6691 |  | 50 | 12.6691 | [9 empty] | --
--
--
--
--
--
--
--
--
--
|  |  | -- |  |  | -- |  |  | --
|  |  | -- |  |  | -- |  |  | --
|  |  | -- |  |  | -- |  |  | --
|  |  | -- |  |  | -- |  |  | --

## FIG.2
Measured reverse dark capacitance | Bias(V) | Mean C(pf) | Fitted reverse dark capacitance | Bias(V) | C(pF)
of | 0 | 14.4 | of | 0 | 14.4182
100 μm-radius-device | 0.5 | 13.5 | 100 μm-radius-device | 1 | 12.9896
| 1 | 12.8 | using Possion solver | 2 | 11.916
Heading(units): | 1.5 | 12.3 | Heading(units): | 3 | 11.0709
Bias(V) | 2 | 11.8 | Bias(V) | 4 | 10.3838
C(pF) | 2.5 | 11.3 | C(pF) | 5 | 9.8103
| 3 | 11 |  | 6 | 9.3222
| 3.5 | 10.6 |  | 7 | 8.844
| 4 | 10.3 |  | 8 | 8.362
| 4.5 | 10 |  | 9 | 7.9507
| 5 | 9.71 |  | 10 | 7.5947
| 5.5 | 9.43 |  | 11 | 7.2833
| 6 | 9.12 |  | 12 | 4.7837
| 7 | 8.29 |  | 12.5 | 3.1
| 8 | 7.66 |  | 13 | 2.7
| 9 | 7.51 |  | 13.5 | 2.65
| 9.5 | 7.43 |  | 14 | 2.6238
| 10 | 7.34 |  | 15 | 2.6047
| 10.2 | 7.34 |  | 16 | 2.6033
| 10.4 | 7.29 |  | 17 | 2.602
| 10.6 | 7.24 |  | 18 | 2.6007
| 10.8 | 7.17 |  | 19 | 2.5994
| 11 | 7.06 |  | 20 | 2.5981
| 11.2 | 6.91 |  | 21 | 2.5968
| 11.4 | 6.66 |  | 22 | 2.5955
| 11.6 | 6.13 |  | 23 | 2.5942
| 11.8 | 4.97 |  | 24 | 2.5929
| 12 | 3.52 |  | 25 | 2.5916
| 12.2 | 2.98 |  | 26 | 2.5903
| 12.4 | 2.88 |  | 27 | 2.589
| 12.6 | 2.84 |  | 28 | 2.5877
| 12.8 | 2.82 |  | 29 | 2.5864
| 13 | 2.8 |  | 30 | 2.5851
| 13.2 | 2.79
| 13.4 | 2.78
| 13.6 | 2.77
| 13.8 | 2.76
| 14 | 2.76
| 14.5 | 2.75
| 15 | 2.73
| 15.5 | 2.73
| 16 | 2.72
| 16.5 | 2.71
| 17 | 2.71
| 17.5 | 2.7
| 18 | 2.7
| 18.5 | 2.69
| 19 | 2.69
| 19.5 | 2.68
| 20 | 2.68
| 20.5 | 2.67
| 21 | 2.67
| 21.5 | 2.67
| 22 | 2.66
| 22.5 | 2.66
| 23 | 2.65
| 23.5 | 2.65
| 24 | 2.65
| 24.5 | 2.64
| 25 | 2.64
| 25.5 | 2.64
| 26 | 2.63
| 26.5 | 2.63
| 27 | 2.63
| 27.5 | 2.62
| 28 | 2.62
| 28.5 | 2.62
| 29 | 2.61
| 29.5 | 2.61
| 30 | 2.61

## FIG.3
FIG.3 (a) | Estimated Electric field profile of | 6.5V | Width(nm) | E-profile(kV/cm) | 40V | Width(nm) | E-profile(kV/cm) | 48V | Width(nm) | E-profile(kV/cm) | Estimated Electric field profile of | 14V | Width(nm) | E-profile(kV/cm) | 40V | Width(nm) | E-profile(kV/cm) | 48V | Width(nm) | E-profile(kV/cm) | FIG.3 (b) | Al Intensity | APD62nm | Depletion width (nm) | Al Intensity | APD125nm | Depletion width (nm) | Al Intensity
| APD_62nm |  | 199.5453 | 0 |  | 125 | 0 |  | 103 | 0 | APD_125nm |  | 200.001 | 0 |  | 125.7578 | 0 |  | 103.6875 | 0 |  | Heading(units): |  | -297.01 | 0.001 |  | -296.93 | 0.001
| 100 μm-radius-device |  | 200 | 5.9195 |  | 200 | 276.507 |  | 200 | 340.3102 | 100 μm-radius-device |  | 209.5078 | 0 |  | 200.001 | 193.3007 |  | 200.001 | 250.7633 |  | Depletion width (nm) |  | -278.1 | 0.001 |  | -277.5 | 0.001
| using Possion solver |  | 1065 | 21.6844 |  | 1065 | 292.2719 |  | 1065 | 356.0751 | using Possion solver |  | 1085.001 | 28.4931 |  | 1085.001 | 222.1032 |  | 1085.001 | 279.5658 |  | Al Intensity |  | -259.2 | 0.001 |  | -258 | 0.001
| Heading(units): |  | 1148 | 107.2437 |  | 1148 | 377.8313 |  | 1148 | 441.6345 | Heading(units): |  | 1173.001 | 161.0744 |  | 1173.001 | 354.6845 |  | 1173.001 | 412.1471 |  |  |  | -240.3 | 0.001 |  | -238.6 | 0.001
| Depletion width (nm) |  | 1210 | 185.9044 |  | 1210 | 456.4919 |  | 1210 | 520.2951 | Depletion width (nm) |  | 1298.001 | 418.7833 |  | 1298.001 | 612.3933 |  | 1298.001 | 669.856 |  |  |  | -221.3 | 0.001 |  | -219.1 | 0.001
| E-profile(kV/cm) |  | 1422 | 286.7677 |  | 1422 | 557.3552 |  | 1422 | 621.1584 | E-profile(kV/cm) |  | 1498.001 | 513.9373 |  | 1498.001 | 707.5474 |  | 1498.001 | 765.01 |  |  |  | -202.4 | 0.001 |  | -200 | 0.001
|  |  | 1425.6165 | 0 |  | 1429.0289 | 0 |  | 1429.8335 | 0 |  |  | 1504.4823 | 0 |  | 1506.924 | 0 |  | 1507.6486 | 0 |  |  |  | -183 | 0.001 |  | -180 | 0.001
[24 empty] | -165 | 0.001 |  | -161 | 0.001
[24 empty] | -146 | 0.001 |  | -141 | 0.001
[24 empty] | -127 | 0.001 |  | -122 | 0.001
[24 empty] | -108 | 0.001 |  | -102 | 0.001
[24 empty] | -89 | 0.001 |  | -83 | 0.001
[24 empty] | -70 | 0.001 |  | -64 | 0.001
[24 empty] | -51 | 0.001 |  | -44 | 0.001
[24 empty] | -32 | 0.001 |  | -25 | 0.001
[24 empty] | -13 | 0.001 |  | -5 | 0.001
[24 empty] | 6 | 0.001 |  | 14 | 0.001
[24 empty] | 25 | 0.001 |  | 34 | 0.001
[24 empty] | 44 | 0.001 |  | 53 | 0.001
[24 empty] | 62 | 0.001 |  | 73 | 0.001
[24 empty] | 81 | 0.001 |  | 92 | 0.001
[24 empty] | 100 | 0.001 |  | 111 | 0.001
[24 empty] | 119 | 0.001 |  | 131 | 0.001
[24 empty] | 138 | 0.001 |  | 150 | 0.001
[24 empty] | 157 | 0.001 |  | 170 | 0.001
[24 empty] | 176 | 0.001 |  | 189 | 0.001
[24 empty] | 195 | 0.001 |  | 209 | 0.001
[24 empty] | 214 | 0.001 |  | 228 | 0.001
[24 empty] | 233 | 0.001 |  | 248 | 0.001
[24 empty] | 252 | 0.001 |  | 267 | 0.001
[24 empty] | 271 | 0.001 |  | 286 | 0.001
[24 empty] | 290 | 0.001 |  | 306 | 0.001
[24 empty] | 308 | 0.001 |  | 325 | 0.001
[24 empty] | 327 | 0.001 |  | 345 | 0.001
[24 empty] | 346 | 0.001 |  | 364 | 0.001
[24 empty] | 365 | 0.001 |  | 384 | 0.001
[24 empty] | 384 | 0.001 |  | 403 | 0.001
[24 empty] | 403 | 0.001 |  | 423 | 0.001
[24 empty] | 422 | 0.001 |  | 442 | 0.001
[24 empty] | 441 | 0.001 |  | 461 | 0.001
[24 empty] | 460 | 0.001 |  | 481 | 0.001
[24 empty] | 479 | 0.001 |  | 500 | 0.001
[24 empty] | 498 | 0.001 |  | 520 | 0.001
[24 empty] | 517 | 0.001 |  | 539 | 0.001
[24 empty] | 535 | 0.001 |  | 559 | 0.001
[24 empty] | 554 | 0.001 |  | 578 | 0.001
[24 empty] | 573 | 0.001 |  | 598 | 0.001
[24 empty] | 592 | 0.001 |  | 617 | 0.001
[24 empty] | 611 | 0.001 |  | 636 | 0.001
[24 empty] | 630 | 0.001 |  | 656 | 0.001
[24 empty] | 649 | 0.001 |  | 675 | 0.001
[24 empty] | 668 | 0.001 |  | 695 | 0.001
[24 empty] | 687 | 0.001 |  | 710 | 0.001
[24 empty] | 710 | 0.001 |  | 730 | 0.001
[24 empty] | 720 | 0.001 |  | 750 | 0.001
[24 empty] | 740 | 0.001 |  | 770 | 0.001
[24 empty] | 760 | 0.001 |  | 790 | 0.001
[24 empty] | 780 | 0.001 |  | 810 | 0.001
[24 empty] | 800 | 0.001 |  | 830 | 0.001
[24 empty] | 820 | 0.001 |  | 850 | 0.001
[24 empty] | 840 | 0.001 |  | 870 | 0.001
[24 empty] | 860 | 0.001 |  | 890 | 0.001
[24 empty] | 880 | 0.001 |  | 910 | 0.001
[24 empty] | 890 | 0.001 |  | 930 | 0.001
[24 empty] | 910 | 0.001 |  | 950 | 0.001
[24 empty] | 930 | 0.001 |  | 970 | 0.001
[24 empty] | 950 | 0.001 |  | 990 | 0.001
[24 empty] | 970 | 0.001 |  | 1010 | 0.001
[24 empty] | 990 | 0.001 |  | 1030 | 0.001
[24 empty] | 1010 | 0.001 |  | 1040 | 0.001
[24 empty] | 1030 | 0.001 |  | 1060 | 0.001
[24 empty] | 1050 | 0.001 |  | 1080 | 3.07
[24 empty] | 1070 | 0.001 |  | 1100 | 436
[24 empty] | 1080 | 1.02 |  | 1120 | 5130
[24 empty] | 1100 | 262 |  | 1140 | 21100
[24 empty] | 1120 | 3990 |  | 1160 | 45200
[24 empty] | 1140 | 19700 |  | 1180 | 65000
[24 empty] | 1160 | 43700 |  | 1200 | 78700
[24 empty] | 1180 | 64100 |  | 1220 | 87300
[24 empty] | 1200 | 76000 |  | 1240 | 92900
[24 empty] | 1220 | 84500 |  | 1260 | 97300
[24 empty] | 1240 | 90400 |  | 1280 | 101000
[24 empty] | 1250 | 94200 |  | 1300 | 102000
[24 empty] | 1270 | 97100 |  | 1320 | 104000
[24 empty] | 1290 | 99000 |  | 1340 | 104000
[24 empty] | 1310 | 101000 |  | 1360 | 105000
[24 empty] | 1330 | 102000 |  | 1380 | 106000
[24 empty] | 1350 | 103000 |  | 1390 | 107000
[24 empty] | 1370 | 103000 |  | 1410 | 107000
[24 empty] | 1390 | 104000 |  | 1430 | 108000
[24 empty] | 1410 | 104000 |  | 1450 | 108000
[24 empty] | 1420 | 105000 |  | 1470 | 108000
[24 empty] | 1440 | 105000 |  | 1490 | 109000
[24 empty] | 1460 | 105000 |  | 1510 | 109000
[24 empty] | 1480 | 105000 |  | 1530 | 109000
[24 empty] | 1500 | 105000 |  | 1550 | 109000
[24 empty] | 1520 | 106000 |  | 1570 | 109000
[24 empty] | 1540 | 104000 |  | 1590 | 109000
[24 empty] | 1560 | 105000 |  | 1610 | 109000
[24 empty] | 1580 | 105000 |  | 1630 | 109000
[24 empty] | 1590 | 105000 |  | 1650 | 110000
[24 empty] | 1610 | 104000 |  | 1670 | 111000
[24 empty] | 1630 | 105000 |  | 1690 | 112000
[24 empty] | 1650 | 104000 |  | 1710 | 112000
[24 empty] | 1670 | 106000 |  | 1730 | 111000
[24 empty] | 1690 | 106000 |  | 1740 | 112000
[24 empty] | 1710 | 107000 |  | 1760 | 112000
[24 empty] | 1730 | 108000 |  | 1780 | 113000
[24 empty] | 1750 | 108000 |  | 1800 | 113000
[24 empty] | 1770 | 109000 |  | 1820 | 113000
[24 empty] | 1780 | 110000 |  | 1840 | 113000
[24 empty] | 1800 | 110000 |  | 1860 | 114000
[24 empty] | 1820 | 110000 |  | 1880 | 114000
[24 empty] | 1840 | 110000 |  | 1900 | 115000
[24 empty] | 1860 | 111000 |  | 1920 | 115000
[24 empty] | 1880 | 111000 |  | 1940 | 116000
[24 empty] | 1900 | 112000 |  | 1960 | 117000
[24 empty] | 1920 | 112000 |  | 1980 | 117000
[24 empty] | 1940 | 113000 |  | 2000 | 118000
[24 empty] | 1950 | 114000 |  | 2020 | 118000
[24 empty] | 1970 | 115000 |  | 2040 | 119000
[24 empty] | 1990 | 116000 |  | 2060 | 119000
[24 empty] | 2010 | 116000 |  | 2080 | 121000
[24 empty] | 2030 | 118000 |  | 2090 | 122000
[24 empty] | 2050 | 121000 |  | 2110 | 112000
[24 empty] | 2070 | 122000 |  | 2130 | 40100
[24 empty] | 2090 | 123000 |  | 2150 | 4990
[24 empty] | 2110 | 124000 |  | 2170 | 533
[24 empty] | 2120 | 125000 |  | 2190 | 79.8
[24 empty] | 2140 | 127000 |  | 2210 | 27.6
[24 empty] | 2160 | 80400 |  | 2230 | 14.3
[24 empty] | 2180 | 14700 |  | 2250 | 9.21
[24 empty] | 2200 | 1540 |  | 2270 | 7.16
[24 empty] | 2220 | 174 |  | 2290 | 4.09
[24 empty] | 2240 | 39.9 |  | 2310 | 5.11
[24 empty] | 2260 | 9.21 |  | 2330 | 8.18
[24 empty] | 2280 | 9.21 |  | 2350 | 8.18
[24 empty] | 2300 | 6.14 |  | 2370 | 6.14
[24 empty] | 2310 | 4.09 |  | 2390 | 4.09
[24 empty] | 2330 | 2.05 |  | 2410 | 1.02
[24 empty] | 2350 | 1.02 |  | 2430 | 3.07
[24 empty] | 2370 | 4.09 |  | 2440 | 1.02
[24 empty] | 2390 | 3.07 |  | 2460 | 4.09
[24 empty] | 2410 | 1.02 |  | 2480 | 2.05
[24 empty] | 2430 | 1.02
[24 empty] | 2450 | 0.001
[24 empty] | 2470 | 1.02
[24 empty] | 2480 | 1.02

## FIG.4
Responsivity (A/W) | APD62nm | Reverse bias voltage (V) | Mean Responsivity (A/W) | Stdev | APD125nm | Reverse bias voltage (V) | Mean Responsivity (A/W) | Stdev | Avalanche gain | 1550nm | Reverse bias voltage (V) | Avalanche gain, M | 940nm | Reverse bias voltage (V) | Avalanche gain, M | Reverse bias voltage (V) | Avalanche gain, M | Reverse bias voltage (V) | Avalanche gain, M | Reverse bias voltage (V) | Avalanche gain, M | Reverse bias voltage (V) | Avalanche gain, M | Reverse bias voltage (V) | Avalanche gain, M | SMC Model | Reverse bias voltage (V) | Avalanche gain, M
Heading(units): |  | 4.6 | 0.044754 | 0.00051724 |  | 12 | 0.0061921 | 0.0011937 | APD125nm |  | 14 | 1.3 |  | 14 | 1.3 | 14 | 1.3 | 14 | 1.3 | 14 | 1.3 | 14.3 | 1.3678 | 14 | 1.3 | Heading(units): | 10 | 1.073
Reverse bias voltage (V) |  | 4.8 | 0.045638 | 0.00040157 |  | 13 | 0.076788 | 0.0019182 | Heading(units): |  | 14.2 | 1.31 |  | 14.2 | 1.3101 | 14.2 | 1.309 | 14.2 | 1.3057 | 14.2 | 1.309 | 14.4 | 1.377 | 14.2 | 1.311 | Reverse bias voltage (V) | 11 | 1.1296
Mean Responsivity (A/W) |  | 5 | 0.046809 | 0.00081293 |  | 13.2 | 0.14447 | 0.0028439 | Reverse bias voltage (V) |  | 14.4 | 1.3187 |  | 14.4 | 1.3159 | 14.4 | 1.3141 | 14.4 | 1.3101 | 14.4 | 1.3141 | 15 | 1.3912 | 14.4 | 1.3245 | Avalanche gain, M | 12 | 1.1969
|  | 5.2 | 0.046484 | 0.00060278 |  | 13.4 | 0.28274 | 0.0021729 | Avalanche gain, M |  | 14.6 | 1.3224 |  | 14.6 | 1.322 | 14.6 | 1.3192 | 14.6 | 1.3151 | 14.6 | 1.3201 | 16 | 1.4174 | 14.6 | 1.3456 |  | 13 | 1.2463
|  | 5.4 | 0.047354 | 0.0019554 |  | 13.6 | 0.4585 | 0.0026574 |  |  | 14.8 | 1.3295 |  | 14.8 | 1.3284 | 14.8 | 1.3255 | 14.8 | 1.3212 | 14.8 | 1.3267 | 17 | 1.4522 | 14.8 | 1.3693 |  | 14 | 1.2761
|  | 5.6 | 0.054934 | 0.0016199 |  | 13.8 | 0.50279 | 0.0090723 |  |  | 15 | 1.3379 |  | 15 | 1.3346 | 15 | 1.333 | 15 | 1.3272 | 15 | 1.3336 | 18 | 1.4938 | 15 | 1.3862 |  | 15 | 1.3251
|  | 5.8 | 0.077268 | 0.0009898 |  | 14 | 0.50301 | 0.00911 |  |  | 16 | 1.392 |  | 16 | 1.37 | 16 | 1.3715 | 16 | 1.3612 | 16 | 1.3716 | 19 | 1.5424 | 16 | 1.436 |  | 16 | 1.3705
|  | 6 | 0.1184 | 0.0071616 |  | 14.2 | 0.50826 | 0.0088823 |  |  | 18 | 1.5206 |  | 18 | 1.4691 | 18 | 1.47 | 18 | 1.4596 | 18 | 1.4675 | 20 | 1.5994 | 18 | 1.5467 |  | 17 | 1.4013
|  | 6.2 | 0.23531 | 0.0077616 |  | 14.4 | 0.51309 | 0.0075715 |  |  | 20 | 1.6437 |  | 20 | 1.6159 | 20 | 1.5995 | 20 | 1.6148 | 20 | 1.5946 | 21 | 1.6626 | 20 | 1.6843 |  | 18 | 1.4456
|  | 6.4 | 0.36234 | 0.0061421 |  | 14.6 | 0.51525 | 0.0084531 |  |  | 22 | 1.7941 |  | 22 | 1.7544 | 22 | 1.7386 | 22 | 1.7583 | 22 | 1.7369 | 22 | 1.7297 | 22 | 1.8279 |  | 19 | 1.5009
|  | 6.5 | 0.38614 | 0.007 |  | 14.8 | 0.51601 | 0.0079735 |  |  | 24 | 1.9596 |  | 24 | 1.9028 | 24 | 1.8895 | 24 | 1.9082 | 24 | 1.8937 | 23 | 1.8031 | 24 | 1.9817 |  | 20 | 1.5537
|  | 6.6 | 0.38605 | 0.0044084 |  | 15 | 0.51843 | 0.008888 |  |  | 26 | 2.0964 |  | 26 | 2.0706 | 26 | 2.0526 | 26 | 2.0768 | 26 | 2.0663 | 24 | 1.8801 | 26 | 2.1565 |  | 21 | 1.6298
|  | 6.8 | 0.38671 | 0.0042849 |  | 16 | 0.54248 | 0.0081243 |  |  | 28 | 2.3354 |  | 28 | 2.2645 | 28 | 2.2446 | 28 | 2.2677 | 28 | 2.2605 | 25 | 1.9623 | 28 | 2.3576 |  | 22 | 1.6914
|  | 7 | 0.38622 | 0.0041196 |  | 18 | 0.59267 | 0.0076991 |  |  | 30 | 2.5442 |  | 30 | 2.4899 | 30 | 2.4675 | 30 | 2.4938 | 30 | 2.4831 | 26 | 2.0507 | 30 | 2.5932 |  | 23 | 1.7542
|  | 7.2 | 0.38803 | 0.0036337 |  | 20 | 0.64145 | 0.0077083 |  |  | 32 | 2.7984 |  | 32 | 2.7538 | 32 | 2.7328 | 32 | 2.762 | 32 | 2.7492 | 27 | 2.1453 | 32 | 2.8728 |  | 24 | 1.8497
|  | 7.4 | 0.38859 | 0.0036164 |  | 22 | 0.70198 | 0.0076624 |  |  | 34 | 3.0975 |  | 34 | 3.0761 | 34 | 3.0525 | 34 | 3.0855 | 34 | 3.0705 | 28 | 2.2476 | 34 | 3.2099 |  | 25 | 1.9211
|  | 7.6 | 0.38949 | 0.0035927 |  | 24 | 0.76922 | 0.0074914 |  |  | 36 | 3.4637 |  | 36 | 3.4777 | 36 | 3.4508 | 36 | 3.4897 | 36 | 3.4712 | 29 | 2.3573 | 36 | 3.6322 |  | 26 | 1.9902
|  | 7.8 | 0.38963 | 0.0031662 |  | 26 | 0.82402 | 0.025816 |  |  | 38 | 3.9408 |  | 38 | 4.0009 | 38 | 3.9694 | 38 | 4.0146 | 38 | 3.992 | 30 | 2.4759 | 38 | 4.1813 |  | 27 | 2.1045
|  | 8 | 0.38813 | 0.0053665 |  | 28 | 0.92033 | 0.0088105 |  |  | 40 | 4.5945 |  | 40 | 4.7223 | 40 | 4.6869 | 40 | 4.7343 | 40 | 4.7127 | 31 | 2.6034 | 40 | 4.9415 |  | 28 | 2.2186
|  | 10 | 0.39064 | 0.0040048 |  | 30 | 1.0044 | 0.01477 |  |  | 42 | 5.5807 |  | 40 | 4.7226 | 40 | 4.6838 | 40 | 4.7377 | 40 | 4.7133 | 32 | 2.7374 | 41 | 5.4467 |  | 29 | 2.329
|  | 12 | 0.39199 | 0.0055403 |  | 32 | 1.1064 | 0.017036 |  |  | 43 | 6.2737 |  | 42 | 5.8089 | 41 | 5.1615 | 41 | 5.2215 | 41 | 5.1904 | 33 | 2.8868 | 42 | 6.0853 |  | 30 | 2.4478
|  | 14 | 0.39835 | 0.0036692 |  | 34 | 1.2259 | 0.019843 |  |  | 44 | 7.2216 |  | 44 | 7.6881 | 42 | 5.7624 | 42 | 5.8297 | 42 | 5.7928 | 34 | 3.0504 | 43 | 6.9224 |  | 31 | 2.5904
|  | 16 | 0.40406 | 0.0058392 |  | 36 | 1.3697 | 0.02416 |  |  | 45 | 8.6365 |  | 45 | 9.2844 | 43 | 6.5466 | 43 | 6.626 | 43 | 6.5839 | 35 | 3.2318 | 43 | 6.9224 |  | 32 | 2.7361
|  | 18 | 0.4088 | 0.0056694 |  | 38 | 1.5586 | 0.03376 |  |  | 46 | 10.5018 |  | 46 | 11.8532 | 44 | 7.6281 | 44 | 7.7214 | 44 | 7.6687 | 36 | 3.5519 | 44 | 8.0737 |  | 33 | 2.942
|  | 20 | 0.41339 | 0.0047132 |  | 40 | 1.8189 | 0.044186 |  |  | 47 | 14.8954 |  | 46.5 | 13.841 | 44.5 | 8.3312 | 44.5 | 8.4371 | 44.5 | 8.376 | 37 | 3.6656 | 44.5 | 8.8179 |  | 34 | 3.1199
|  | 22 | 0.41934 | 0.0071169 |  | 42 | 2.2136 | 0.052526 |  |  |  | -- |  | 46.5 | 13.8413 | 45 | 9.1904 | 45 | 9.3241 | 45 | 9.251 | 38 | 3.9302 | 45 | 9.7504 |  | 35 | 3.3296
|  | 24 | 0.42529 | 0.0058987 |  | 43 | 2.4902 | 0.063589 |  |  |  | -- |  | 46.8 | 15.496 |  |  | 45.5 | 10.4464 |  |  | 39 | 4.245 | 45.5 | 10.9347 |  | 36 | 3.6226
|  | 26 | 0.43428 | 0.0060881 |  | 44 | 2.8691 | 0.079168 |  |  |  | -- |  | 47 | 16.7768 |  |  | 46 | 11.9113 |  |  | 39 | 4.3128 | 46 | 12.4864 |  | 37 | 3.8881
|  | 28 | 0.44569 | 0.0059953 |  | 45 | 3.4364 | 0.09568 |  |  |  | -- | [5 empty] | 46 | 11.9113 |  |  | 40 | 4.5885 | 46.5 | 14.6016 |  | 38 | 4.2145
|  | 30 | 0.45939 | 0.0047284 |  | 46 | 3.889 | 0.48396 |  |  |  | -- | [5 empty] | 46.5 | 13.9072 |  |  | 41 | 5.009 | 47 | 17.6543 |  | 39 | 4.5721
|  | 32 | 0.47766 | 0.005339 |  | 47 | 5.9407 | 0.19244 |  |  |  | -- | [5 empty] | 46.8 | 15.4932 |  |  | 42 | 5.5872 | 47 | 17.6552 |  | 40 | 4.963
|  | 34 | 0.50361 | 0.0068657 | [7 empty] | -- | [5 empty] | 47 | 16.7733 |  |  | 43 | 6.5 | 47.1 | 18.3808 |  | 41 | 5.5649
|  | 36 | 0.53902 | 0.0068966 | [7 empty] | -- | [5 empty] | 47.2 | 18.2988 |  |  | 43.2 | 6.728 | 47.2 | 19.2255 |  | 42 | 6.1496
|  | 38 | 0.58998 | 0.0051708 | [7 empty] | -- | [5 empty] | 47.3 | 20.178 |  |  | 43.4 | 6.9282 | 47.3 | 20.1884 |  | 43 | 7.0134
|  | 40 | 0.67084 | 0.009007 | [7 empty] | -- | [9 empty] | 43.6 | 7.1377 | 47.4 | 21.219 |  | 44 | 7.9928
|  | 42 | 0.80366 | 0.010751 | [7 empty] | -- | [9 empty] | 43.8 | 7.3626 | 47.5 | 22.3593 |  | 45 | 9.3107
|  | 44 | 1.0516 | 0.017073 | [7 empty] | -- | [9 empty] | 44 | 7.609 |  |  |  | 46 | 11.1666
|  | 46 | 1.6611 | 0.026467 | [7 empty] | -- | [9 empty] | 44.1 | 7.7353 |  |  |  | 47 | 15.1757
|  |  | -- | -- | [7 empty] | -- | [9 empty] | 44.2 | 7.8709 |  |  |  | 47.5 | 18.85
|  |  | -- | -- | [7 empty] | -- | [9 empty] | 44.3 | 8.0064 |  |  |  | 48 | 22
|  |  | -- | -- | [7 empty] | -- | [9 empty] | 44.4 | 8.1573
|  |  | -- | -- | [7 empty] | -- | [9 empty] | 44.5 | 8.3021
|  |  | -- | -- | [7 empty] | -- | [9 empty] | 44.6 | 8.4562
|  |  | -- | -- | [7 empty] | -- | [9 empty] | 44.7 | 8.6194
|  |  | -- | -- | [7 empty] | -- | [9 empty] | 44.8 | 8.7981
|  |  | -- | -- | [7 empty] | -- | [9 empty] | 44.9 | 8.9737
|  |  | -- | -- | [7 empty] | -- | [9 empty] | 45 | 9.1585
|  |  | -- | -- | [7 empty] | -- | [9 empty] | 45.1 | 9.3526
|  |  | -- | -- | [7 empty] | -- | [9 empty] | 45.2 | 9.5559
|  |  | -- | -- | [7 empty] | -- | [9 empty] | 45.3 | 9.7746
|  |  | -- | -- | [7 empty] | -- | [9 empty] | 45.4 | 10.0057
|  |  | -- | -- | [7 empty] | -- | [9 empty] | 45.5 | 10.2398
|  |  | -- | -- | [7 empty] | -- | [9 empty] | 45.5 | 10.2491
|  |  | -- | -- | [7 empty] | -- | [9 empty] | 45.6 | 10.4955
|  |  | -- | -- | [17 empty] | 45.7 | 10.7573
|  |  | -- | -- | [17 empty] | 45.8 | 11.0469
|  |  | -- | -- | [17 empty] | 45.9 | 11.3427
|  |  | -- | -- | [17 empty] | 46 | 11.6538
|  |  | -- | -- | [17 empty] | 46.1 | 11.9865
|  |  | -- | -- | [17 empty] | 46.2 | 12.3377
|  |  | -- | -- | [17 empty] | 46.3 | 12.7289
[22 empty] | 46.4 | 13.1355
[22 empty] | 46.6 | 13.5237
[22 empty] | 46.8 | 13.8934

## FIG.5
Excess noise factor, F(M) | Silicon | Avalanche gain, M | Excess noise factor, F(M) | InGaAs/InP | Avalanche gain, M | Excess noise factor, F(M) | AlInAsSb | Avalanche gain, M | Excess noise factor, F(M) | AlGaAsSb | Avalanche gain, M | Excess noise factor, F(M) | Stddev | AlGaAsSb | Avalanche gain, M | Excess noise factor, F(M) | APD125nm | Avalanche gain, M | Excess noise factor, F(M) | APD62nm | Avalanche gain, M | Excess noise factor, F(M) | SMC model | Avalanche gain, M | Excess noise factor, F(M)
Heading(units): | ref.3 | 5 | 1.2739 | ref.17 | 10 | 5.0119 | ref.12 | 1.9547 | 1.4433 | ref.9 | 3.8 | 1.1701 | 0.045324 | ref.11 | 2.0094 | 1.5618 |  | 3 | 0.91744 |  | 2.5 | 1.4436 | ref. 17 | 1.0179 | 1.017
Avalanche gain, M |  | 5 | 1.3128 |  | 11 | 5.3577 |  | 2.6019 | 1.5464 |  | 3.9 | 1.1678 | 0.040549 |  | 3.1086 | 1.6963 |  | 3.5 | 0.94751 |  | 4.9 | 1.8887 | ref. 19 | 1.0407 | 1.0364
Excess noise factor, F(M) |  | 6 | 1.3868 |  | 12 | 5.6941 |  | 3.7929 | 1.732 |  | 4 | 1.1655 | 0.035775 |  | 4.0118 | 1.7731 |  | 4 | 0.98159 |  | 7.6 | 2.3639 |  | 1.0766 | 1.0629
|  | 7 | 1.4633 |  | 13 | 6.0223 |  | 7.1586 | 1.8557 |  | 4.1 | 1.1633 | 0.034201 |  | 4.9412 | 1.8331 |  | 4.5 | 1.017 |  | 9.8 | 2.7075 |  | 1.1336 | 1.0952
|  | 8 | 1.5427 |  | 14 | 6.3429 |  | 8.2977 | 1.9381 |  | 4.2 | 1.161 | 0.032627 |  | 5.9625 | 1.8739 |  | 5 | 1.0526 |  |  |  |  | 1.2059 | 1.1272
|  | 9 | 1.6197 |  | 15 | 6.6568 |  | 9.9547 | 1.9588 |  | 4.3 | 1.1588 | 0.035076 |  | 7.0492 | 1.9148 |  | 5.5 | 1.0911 |  |  |  |  | 1.301 | 1.1602
|  | 10 | 1.6658 |  | 16 | 6.9644 |  | 12.0259 | 2.0206 |  | 4.4 | 1.1565 | 0.037526 |  | 7.9265 | 1.9364 |  | 6 | 1.1325 |  |  |  |  | 1.4475 | 1.1977
|  | 11 | 1.7198 |  | 17 | 7.2663 |  | 15.288 | 2.0619 |  | 4.5 | 1.1465 | 0.056526 |  | 8.8824 | 1.958 |  | 6.5 | 1.1754 |  |  |  |  | 1.5959 | 1.208
|  | 12 | 1.7832 |  | 18 | 7.5629 |  | 16.5307 | 2.0825 |  | 4.6 | 1.1364 | 0.075525 |  | 9.9692 | 1.982 |  | 7 | 1.2093 |  |  |  |  | 1.8033 | 1.2314
|  | 13 | 1.8372 |  | 19 | 7.8547 |  |  |  |  | 4.7 | 1.1344 | 0.074918 |  | 11.1608 | 2.0084 |  | 7.5 | 1.2504 |  |  |  |  | 2.1104 | 1.251
|  | 14 | 1.887 |  | 20 | 8.1418 |  |  |  |  | 4.8 | 1.1325 | 0.074311 |  | 12.9549 | 2.0372 |  | 8 | 1.2915 |  |  |  |  | 2.472 | 1.2756
|  | 15 | 1.9313 | [7 empty] | 4.9 | 1.1301 | 0.073031 |  | 14.0287 | 2.0516 |  | 8.5 | 1.339 |  |  |  |  | 2.9829 | 1.3125
|  | 16 | 1.9789 | [7 empty] | 5 | 1.1277 | 0.071751 |  | 15.1024 | 2.0708 |  | 9 | 1.3858 |  |  |  |  | 3.6449 | 1.34
|  | 17 | 2.0276 | [7 empty] | 5.1 | 1.1253 | 0.071976 |  |  |  |  | 9.5 | 1.4297 |  |  |  |  | 4.6902 | 1.4251
|  | 18 | 2.0637 | [7 empty] | 5.2 | 1.1229 | 0.072201 |  |  |  |  | 10 | 1.4747 |  |  |  |  | 6.3859 | 1.5558
|  | 19 | 2.0962 | [7 empty] | 5.3 | 1.1205 | 0.073904 |  |  |  |  | 10.5 | 1.5208 |  |  |  |  | 9.7902 | 1.791
|  | 20 | 2.1347 | [7 empty] | 5.4 | 1.1181 | 0.075607 |  |  |  |  | 11 | 1.5667 |  |  |  |  | 21.1053 | 2.6676
|  | 21 | 2.1842 | [7 empty] | 5.5 | 1.1157 | 0.078604 |  |  |  |  | 11.5 | 1.6118
|  | 22 | 2.2284 | [7 empty] | 5.6 | 1.1133 | 0.081601 |  |  |  |  | 12 | 1.6569
|  | 23 | 2.2581 | [7 empty] | 5.7 | 1.1111 | 0.085662 |  |  |  |  | 12.5 | 1.702
|  | 24 | 2.2879 | [7 empty] | 5.8 | 1.1089 | 0.089722 |  |  |  |  | 13 | 1.7475
|  | 25 | 2.3177 | [7 empty] | 5.9 | 1.1074 | 0.094508 |  |  |  |  | 13.5 | 1.793
[11 empty] | 6 | 1.1059 | 0.099294 |  |  |  |  | 14 | 1.8385
[11 empty] | 6.1 | 1.1098 | 0.097162 |  |  |  |  | 14.5 | 1.884
[11 empty] | 6.2 | 1.1138 | 0.095029 |  |  |  |  | 15 | 1.9284
[11 empty] | 6.3 | 1.119 | 0.091466 |  |  |  |  | 15.5 | 1.9724
[11 empty] | 6.4 | 1.1242 | 0.087903 |  |  |  |  | 16 | 2.0165
[11 empty] | 6.5 | 1.1294 | 0.084505 |  |  |  |  | 16.5 | 2.0606
[11 empty] | 6.6 | 1.1346 | 0.081106 |  |  |  |  | 17 | 2.1046
[11 empty] | 6.7 | 1.1398 | 0.077916 |  |  |  |  | 17.5 | 2.1487
[11 empty] | 6.8 | 1.145 | 0.074727 |  |  |  |  | 18 | 2.206
[11 empty] | 6.9 | 1.1502 | 0.071804 |  |  |  |  | 18.5 | 2.2597
[11 empty] | 7 | 1.1554 | 0.068881 |  |  |  |  | 19 | 2.3138
[11 empty] | 7.1 | 1.1606 | 0.066299 |  |  |  |  | 19.5 | 2.3607
[11 empty] | 7.2 | 1.1658 | 0.063716 |  |  |  |  | 20 | 2.4015
[11 empty] | 7.3 | 1.171 | 0.061563 |  |  |  |  | 20.5 | 2.4351
[11 empty] | 7.4 | 1.1762 | 0.059411 |  |  |  |  | 21 | 2.4643
[11 empty] | 7.5 | 1.1814 | 0.057786 |  |  |  |  | 21.5 | 2.4782
[11 empty] | 7.6 | 1.1866 | 0.056162 |  |  |  |  | 22 | 2.4803
[11 empty] | 7.7 | 1.1918 | 0.055258
[11 empty] | 7.8 | 1.1971 | 0.054355
[11 empty] | 7.9 | 1.2017 | 0.053443
[11 empty] | 8 | 1.2063 | 0.052531
[11 empty] | 8.1 | 1.2107 | 0.052048
[11 empty] | 8.2 | 1.2151 | 0.051565
[11 empty] | 8.3 | 1.2179 | 0.052003
[11 empty] | 8.4 | 1.2208 | 0.052441
[11 empty] | 8.5 | 1.2235 | 0.053016
[11 empty] | 8.6 | 1.2262 | 0.053592
[11 empty] | 8.7 | 1.2288 | 0.054231
[11 empty] | 8.8 | 1.2315 | 0.05487
[11 empty] | 8.9 | 1.2342 | 0.055569
[11 empty] | 9 | 1.2369 | 0.056267
[11 empty] | 9.1 | 1.2396 | 0.057021
[11 empty] | 9.2 | 1.2422 | 0.057775
[11 empty] | 9.3 | 1.2448 | 0.058402
[11 empty] | 9.4 | 1.2474 | 0.059029
[11 empty] | 9.5 | 1.2504 | 0.059375
[11 empty] | 9.6 | 1.2533 | 0.05972
[11 empty] | 9.7 | 1.2563 | 0.059981
[11 empty] | 9.8 | 1.2593 | 0.060242
[11 empty] | 9.9 | 1.2626 | 0.060221
[11 empty] | 10 | 1.2658 | 0.060201
[11 empty] | 10.1 | 1.2695 | 0.059894
[11 empty] | 10.2 | 1.2733 | 0.059587
[11 empty] | 10.3 | 1.277 | 0.05934
[11 empty] | 10.4 | 1.2807 | 0.059094
[11 empty] | 10.5 | 1.2844 | 0.058908
[11 empty] | 10.6 | 1.2882 | 0.058723
[11 empty] | 10.7 | 1.2919 | 0.0586
[11 empty] | 10.8 | 1.2956 | 0.058477
[11 empty] | 10.9 | 1.2993 | 0.058417
[11 empty] | 11 | 1.3031 | 0.058357
[11 empty] | 11.1 | 1.3068 | 0.058361
[11 empty] | 11.2 | 1.3105 | 0.058365
[11 empty] | 11.3 | 1.3142 | 0.058433
[11 empty] | 11.4 | 1.318 | 0.0585
[11 empty] | 11.5 | 1.3217 | 0.058722
[11 empty] | 11.6 | 1.3255 | 0.058944
[11 empty] | 11.7 | 1.3294 | 0.059464
[11 empty] | 11.8 | 1.3333 | 0.059985
[11 empty] | 11.9 | 1.3371 | 0.060498
[11 empty] | 12 | 1.341 | 0.061011
[11 empty] | 12.1 | 1.3449 | 0.061525
[11 empty] | 12.2 | 1.3488 | 0.062038
[11 empty] | 12.3 | 1.3534 | 0.062083
[11 empty] | 12.4 | 1.3579 | 0.062127
[11 empty] | 12.5 | 1.363 | 0.061272
[11 empty] | 12.6 | 1.368 | 0.060417
[11 empty] | 12.7 | 1.373 | 0.060066
[11 empty] | 12.8 | 1.3781 | 0.059715
[11 empty] | 12.9 | 1.3828 | 0.060018
[11 empty] | 13 | 1.3876 | 0.060321
[11 empty] | 13.1 | 1.3962 | 0.060535
[11 empty] | 13.2 | 1.4048 | 0.060749
[11 empty] | 13.3 | 1.4089 | 0.061213
[11 empty] | 13.4 | 1.413 | 0.061677
[11 empty] | 13.5 | 1.4171 | 0.062171
[11 empty] | 13.6 | 1.4212 | 0.062665
[11 empty] | 13.7 | 1.4258 | 0.062836
[11 empty] | 13.8 | 1.4303 | 0.063006
[11 empty] | 13.9 | 1.435 | 0.062971
[11 empty] | 14 | 1.4398 | 0.062935
[11 empty] | 14.1 | 1.4446 | 0.062919
[11 empty] | 14.2 | 1.4494 | 0.062902
[11 empty] | 14.3 | 1.4541 | 0.062906
[11 empty] | 14.4 | 1.4589 | 0.062909
[11 empty] | 14.5 | 1.4635 | 0.062909
[11 empty] | 14.6 | 1.4682 | 0.062909
[11 empty] | 14.7 | 1.4727 | 0.062918
[11 empty] | 14.8 | 1.4773 | 0.062926
[11 empty] | 14.9 | 1.4819 | 0.062956
[11 empty] | 15 | 1.4865 | 0.062986
[11 empty] | 15.1 | 1.4911 | 0.063086
[11 empty] | 15.2 | 1.4957 | 0.063186
[11 empty] | 15.3 | 1.4988 | 0.064756
[11 empty] | 15.4 | 1.5019 | 0.066327
[11 empty] | 15.5 | 1.5036 | 0.069442
[11 empty] | 15.6 | 1.5053 | 0.072556
[11 empty] | 15.7 | 1.5069 | 0.076025
[11 empty] | 15.8 | 1.5085 | 0.079494
[11 empty] | 15.9 | 1.5102 | 0.083293
[11 empty] | 16 | 1.5118 | 0.087093
[11 empty] | 16.1 | 1.5135 | 0.091123
[11 empty] | 16.2 | 1.5151 | 0.095153
[11 empty] | 16.3 | 1.5392 | 0.086095
[11 empty] | 16.4 | 1.5633 | 0.077036
[11 empty] | 16.5 | 1.5688 | 0.076909
[11 empty] | 16.6 | 1.5742 | 0.076781
[11 empty] | 16.7 | 1.58 | 0.076687
[11 empty] | 16.8 | 1.5859 | 0.076592
[11 empty] | 16.9 | 1.5917 | 0.076537
[11 empty] | 17 | 1.5975 | 0.076482
[11 empty] | 17.1 | 1.6032 | 0.076466
[11 empty] | 17.2 | 1.609 | 0.07645
[11 empty] | 17.3 | 1.6137 | 0.077372
[11 empty] | 17.4 | 1.6183 | 0.078294
[11 empty] | 17.5 | 1.6219 | 0.080079
[11 empty] | 17.6 | 1.6255 | 0.081864
[11 empty] | 17.7 | 1.6289 | 0.083755
[11 empty] | 17.8 | 1.6324 | 0.085646
[11 empty] | 17.9 | 1.6356 | 0.087596
[11 empty] | 18 | 1.6388 | 0.089546
[11 empty] | 18.1 | 1.642 | 0.091617
[11 empty] | 18.2 | 1.6453 | 0.093688
[11 empty] | 18.3 | 1.6485 | 0.095866
[11 empty] | 18.4 | 1.6517 | 0.098044
[11 empty] | 18.5 | 1.6551 | 0.099911
[11 empty] | 18.6 | 1.6584 | 0.10178
[11 empty] | 18.7 | 1.662 | 0.10258
[11 empty] | 18.8 | 1.6656 | 0.10339
[11 empty] | 18.9 | 1.6692 | 0.10431
[11 empty] | 19 | 1.6728 | 0.10524
[11 empty] | 19.1 | 1.6763 | 0.10616
[11 empty] | 19.2 | 1.6798 | 0.10708
[11 empty] | 19.3 | 1.6833 | 0.10808
[11 empty] | 19.4 | 1.6868 | 0.10908
[11 empty] | 19.5 | 1.6903 | 0.11016
[11 empty] | 19.6 | 1.6938 | 0.11124
[11 empty] | 19.7 | 1.6973 | 0.11239
[11 empty] | 19.8 | 1.7007 | 0.11354
[11 empty] | 19.9 | 1.7201 | 0.1129
[11 empty] | 20 | 1.7396 | 0.11226
[11 empty] | 20.1 | 1.7442 | 0.11234
[11 empty] | 20.2 | 1.7488 | 0.11243
[11 empty] | 20.3 | 1.7534 | 0.11247
[11 empty] | 20.4 | 1.758 | 0.11252
[11 empty] | 20.5 | 1.7627 | 0.11261
[11 empty] | 20.6 | 1.7673 | 0.11271
[11 empty] | 20.7 | 1.7724 | 0.11289
[11 empty] | 20.8 | 1.7774 | 0.11308
[11 empty] | 20.9 | 1.7824 | 0.11326
[11 empty] | 21 | 1.7874 | 0.11345
[11 empty] | 21.1 | 1.7925 | 0.11362
[11 empty] | 21.2 | 1.7975 | 0.11379
[11 empty] | 21.3 | 1.8026 | 0.11396